## Ryak
| Standard Limit Minimum | Standard Limit Maximum | Source of Data
Inorganic Parameters
Antimony | 0.003 mg/l | 0.05 mg/l | WHO(https://www.who.int/publications/i/item/9789241513760)
Arsenic | 0.007 mg/l | 0.5 mg/l | WHO | https://www.who.int/publications/i/item/9789241513760 | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Barium | 0.1 mg/l | 2.0 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Beryllium | 0.0002 mg/l | 0.06 mg/l | WHO
Boron | 0.2 mg/l | 5 mg/l | WHO
Bromate | 0.005 mg/l | 0.025 mg/l | WHO
Cadmium | 0.001 mg/l | 0.05 mg/l | WHO
Chlorate | 0.05 mg/l | 1.0 mg/l | WHO
Chlorine | 0.1 mg/l | 5.0 mg/l | WHO
Chlorite | 0.05 mg/l | 1.0 mg/l | WHO
Chromium | 0.04 mg/l | 0.5 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Copper | 0.05 mg/l | 3.0 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Cyanide | 0.01 mg/l | 0.6 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Fluoride | 0.6 mg/l | 4.0 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Glyphosate | 0.01 mg/l | 1.0 mg/l | WHO
Lead | 0.005 mg/l | 0.1 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Manganese | 0.05 mg/l | 0.5 mg/l | WHO
Mercury | 0.0005 mg/l | 0.007 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Molybdenum | 0.05 mg/l | 0.25 mg/l | WHO
Nickel | 0.01 mg/l | 0.1 mg/l | WHO
Nitrate | 40 mg/l | 75 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Nitrite | 0.003 mg/l | 3.3 mg/l | WHO
Selenium | 0.007 mg/l | 0.05 mg/l | WHO
Uranium | 0.002 mg/l | 0.1 mg/l | WHO
Organic Parameters
Acrylamide | 0.0001 mg/l | 0.0005 mg/l | WHO
Alachlor | 0.002 mg/l | 0.15 mg/l | WHO
Aldicarb | 0.003 mg/l | 0.01 mg/l | WHO
Aldrin and Dieldrin | 0.00001 mg/l | 0.001 mg/l | WHO
Atrazine and its chloro-s-triazine metabolites | 0.0015 mg/l | 0.5 mg/l | WHO
Bentazone | 0.03 mg/l | 0.4 mg/l | WHO
Benzene | 0.001 mg/l | 0.03 mg/l | WHO
Benzo[a]pyrene | 0.000005 mg/l | 0.0007 mg/l | WHO
Bromodichloromethane | 0.015 mg/l | 0.06 mg/l | WHO
Bromoform | 0.075mg/l | 0.1 mg/l | WHO
Carbofuran | 0.0035 mg/l | 0.09 mg/l | WHO
Carbon tetrachloride | 0.0013 mg/l | 0.005 mg/l | WHO
Chloral hydrate (trichloracetaldehyde) | 0.01 mg/l | 0.1 mg/l | WHO
Chlordane | 0.00015 mg/l | 0.003 mg/l | WHO
Chloroform | 0.03 mg/l | 0.4 mg/l | WHO
Chlorotoluron | 0.02 mg/l | 0.04 mg/l | WHO
Chlorpyrifos | 0.01 mg/l | 0.09 mg/l | WHO
Cyanazine | 0.0006 mg/l | 0.01 mg/l | WHO
Cyanogen Chloride | 0.05 mg/l | 0.07 mg/l | WHO
2,4-D (2,4-Dichlorophenoxyacetic Acid) | 0.01 mg/l | 0.1 mg/l | WHO
2,4-DB (2,4-Dichlorophenoxybutyric Acid) | 0.067 mg/l | 0.1 mg/l | WHO
Dichlorodiphenyltrichloroethane (DDT) and metabolites | 0.001 mg/l | 0.05 mg/l | WHO
Di(2-ethylhexyl)phthalate | 0.002 mg/l | 0.009 mg/l | WHO
Dibromoacetylnitrile | 0.01 mg/l | 0.1 mg/l | WHO
Dibromochloromethane | 0.01 mg/l | 0.15 mg/l | WHO
1,2-Dibromo-3-chloropropane | 0.0002 mg/l | 0.007 mg/l | WHO
1,2-Dibromoethane | 0.00001 mg/l | 0.0004 mg/l | WHO
Dichloroacetic acid | 0.02 mg/l | 0.05 mg/l | WHO
Dichloroacetonitrile | 0.01 mg/l | 0.09 mg/l | WHO
1,2-Dichlorobenzene | 0.0005 mg/l | 1.5 mg/l | WHO
1,4-Dichlorobenzene | 0.0004 mg/l | 0.4 mg/l | WHO
1,2-Dichloroethane | 0.003 mg/l | 0.05 mg/l | WHO
1,1-Dichloroethene (Vinylidene chloride) | 0.0003 mg/ | 0.1 mg/l | WHO
1,2-Dichloroethene | 0.035 mg/l | 0.1 mg/l | WHO
Dichloromethane | 0.003 mg/l | 0.05 mg/l | WHO
1,2-Dichloropropane | 0.005 mg/l | 0.05 mg/l | WHO
1,3-Dichloropropene | 0.015 mg/l | 0.1 mg/l | WHO
Dichlorprop | 0.075 mg/l | 0.1 mg/l | WHO
Di(2-ethylhexyl)phthalate | 0.001 mg/l | 0.1 mg/l | WHO
Dimethoate | 0.006 mg/l | 0.08 mg/l | WHO
1,4-Dioxane | 0.05 mg/l | 0.05 mg/l | WHO
Diquat | 0.007 mg/l | 0.07 mg/l | WHO
Edetec Acid (EDTA) | 0.15 mg/l | 0.7 mg/l | WHO
Endrin | 0.0001 mg/l | 0.002 mg/l | WHO
Endosulfan | 0.00035 mg/l | 0.03 mg/l | WHO
Epichlorohydrin | 0.0001 mg/l | 0.0005 mg/l | WHO
Ethylbenzene | 0.0024 mg/l | 0.7 mg/l | WHO
Fenitrothion | 0.007 mg/l | 0.04 mg/l | WHO
Fenoprop | 0.006 mg/l | 0.01 mg/l | WHO
Heptachlor and Heptachlor Epoxide | 0.00003 mg/l | 0.0002 mg/l | WHO
Hexachlorobenzene | 0.00001 mg/l | 0.001 mg/l | WHO
Hexachlorobutadiene | 0.0004 mg/l | 0.0007 mg/l | WHO
Isoproturon | 0.007 mg/l | 0.01 mg/l | WHO
Lindane | 0.0002 mg/l | 0.01 mg/l | WHO
MCPA (4-(2-Methyl-4-chlorophenoxy) acetic acid) | 0.002 mg/l | 0.1 mg/l | WHO
Mecoprop | 0.001 mg/l | 0.01 mg/l | WHO
Methoxychlor | 0.015 mg/l | 0.9 mg/l | WHO
Methyl parathion | 0.0003 mg/l | 0.1 mg/ | WHO
Metolachlor | 0.007 mg/l | 0.3 mg/l | WHO
Microcystin-LR | 0.001 mg/l | 0.0015 mg/l | WHO
Molinate | 0.004 mg/l | 0.007 mg/l | WHO
Monochloramine | 2 mg/l | 4 mg/l | WHO
Monochloroacetic Acid (Monochloroacetate) | 0.02 mg/l | 0.2 mg/l | WHO
Nitrilotriacetic Acid | 0.15 mg/l | 0.4 mg/l | WHO
Nitrobenzene | 0.004 mg/l | 0.2 mg/l | WHO
N-Nitrosodimethylamine (NDMA) | 0.000012 mg/l | 0.0001 mg/l | WHO
Parathion | 0.003 mg/l | 0.05 mg/l | WHO
Pendimethali | 0.015 mg/l | 0.4 mg/l | WHO
Pentachlorophenol (PCP) | 0.0001 mg/l | 0.06 mg/l | WHO
Permethrin | 0.02 mg/l | 0.3 mg/l | WHO
2-Phenylphenol and its sodium salt | 1.4 mg/l | 1.4 mg/l | WHO
Pyriproxyfen | 0.3 mg/l | 0.4 mg/l | WHO
Simazine | 0.0015 mg/l | 0.02 mg/l | WHO
Styrene | 0.015 mg/l | 0.1 mg/l | WHO
Terbuthylazine | 0.007 mg/l | 0.01 mg/l | WHO
Tetrachloroethene | 0.001 mg/l | 0.05 mg/l | WHO
Trichloroacetic acid | 0.02 mg/l | 0.2 mg/l | WHO
1,1,1-Trichloroethane | 0.03 mg/l | 2 mg/l | WHO
Trichloroethene | 0.001 mg/l | 0.07 mg/l | WHO
2,4,6-Trichlorophenol | 0.002 mg/l | 0.3 mg/l | WHO
2,4,5-T (2,4,5-Trichlorophenoxy acetic acid) | 0.002 mg/l | 0.1 mg/l | WHO
Trifluralin | 0.02 mg/l | 0.09 mg/ | WHO
Trihalomethanes (Total) | 0.001 mg/l | 1 mg/l | WHO
Toluene | 0.024 mg/l | 1 mg/l | WHO
Vinyl Chloride | 0.0003 mg/l | 0.02 mg/l | WHO
Xylenes | 0.05 mg/l | 10 mg/l | WHO
Parameters relating to acceptability, taste and odour and appearance
Aluminium | 0.03mg/l | 0.5 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Ammonium | 0.05 mg NH4/l | 3 mg NH4/l | WHO
Calcium | 30 mg/l | 500 mg/l | WHO
Chloramines | 0.15 mg/l | 4 mg/l | WHO
Chloride | 20 mg/l | 1200 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Chlorobenzene | 0.001 mg/l | 0.3 mg/l | WHO
Chlorophenols (other than 2,4,6-trichlorophenol) | 0.0001 mg/l | 0.3 mg/l | WHO
Colour | 0.5 true colour units(TCU) | 50 TCU | WHO
Dissolved oxygen | 4 mg/l | 8 mg/l | WHO
Hardness | 100 mg CaCO3/l | 1000 mg CaCO3/l | WHO
Hydrogen sulphide | 0 mg/l | 0.1 mg/l | WHO
Iron | 0.2 mg/l | 2 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Magnesium | 10 mg/l | 1,000 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Monochlorobenzene | 0.003 mg/l | 0.3 mg/l | WHO
Odour | 2 DN(dilution number) | 6 DN | WHO
Petroleum Oils | 0.1 mg/l | 0.3 mg/l | WHO
pH Maximum | pH 8 | pH 9.7 | WHO
pH Minimum | pH 5 | pH 7 | WHO
Sodium | 100 mg/l | 400 mg/l | WHO
Sulphate | 50 mg/l | 800 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Synthetic Detergents (Anionic) (Surfactants) | 0.01 mg/l | 2 mg/l | WHO
Taste | 2 DN(dilution number) | 6 DN | WHO
Temperature | 15 deg celsius | 35 deg celsius | WHO
Total dissolved solids | 200 mg/l | 2500 mg/l | WHO
Trichlorobenzenes (total) | 0.02 mg/l | 0.03 mg/l | WHO
Turbidity | 0.3 NTU | 25 NTU(Nephelometric turbidity unit ) | WHO
Zinc | 1 mg/l | 15 mg/l | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Radiological parameters
Total Dose / Individual Dose Criteria | 0.1 mSv/year(milliSieverts per year) | 1 mSv/year | WHO
Gross alpha activity | 0.01 Bq/l( Becquerel per litre) | 0.56 Bq/l | WHO
Gross beta activity | 0.1 Bq/l( Becquerel per litre) | 2.0Bq/l | WHO
Microbiological parameters
Clostridium perfringens (Sulphite-reducing anaerobes) | 0 per 100 ml | 0 per 100 ml | WHO
Coliform bacteria (Total) | 0 per 100 ml | 150 per 100 ml | WHO | https://www.indiawaterportal.org/sites/default/files/2020-11/indian_standard_for_drinking_water_as_per_bis_specifications_is_10500-_2012_-_a_presentation_by_arghyam.pdf
Enterococci (Faecal streptococci) | 0 per 100 ml | 0 per 100 ml | WHO
Escherichia coli (Faecal coliforms, Thermotolerant coliforms) | 0 | 1 per 100 ml | WHO
Total heterotrophic bacteria 22oC | 5 cfu per ml | 10,000 cfu per ml | WHO
Total heterotrophic bacteria 37oC | 0 cfu per ml | 500 cfu per ml | WHO
Additional parameters
Conductivity | 170 microS/cm | 2700 microS/cm | WHO
Formaldehyde | 0.02 mg/l | 1 mg/l | WHO
Oxidizability (permanganate value) | 3 mg/l | 20 mg/l | WHO
Total Polynuclear Aromatic Hydrocarbons (PAH) | 0.0001 mg/l | 0.01 mg/l | WHO
Phenols | 0.0003 mg/l | 0.3 mg/l | WHO
Potassium | 1.5 mg/l | 50 mg/l | WHO
Propanil | 0.02 mg/l | 0.7 mg/l | WHO
Silver | 0.01 mg/l | 0.1 mg/l | WHO

## Shortlisted
Sr. No. | Parameters |  | Formula | Name | Progress | Shortlisted or not | Source
Physical
1 | pH | 6.5-8.5 | 8.339-(0.827*B1/B8) | Renju | Done | yes
2 | Temperature (deg Celsius) |  | Directly | Renju | Done | yes
3 | Turbidity (NTU) | 1-5 NTU | (B4-B3)/(B4+B3) | Deepali | Done | yes
4 | T.S.S.(Total Suspended Solids) |  | B5 | Bharati | Done | yes
5 | T.D.S.(Total Dissolved Solids) | 500-2000 mg/l |  | Ishita | Ongoing | yes
6 | Conductivity (mS/cm) |  |  |  |  | no
Inorganic
7 | Magnesium
8 | Alkalinity
9 | Total hardness
10 | Calcium hardness
11 | sodium Chloride(salinity) |  | B11-B12 / B11+B12 | Bharati | Done | yes
12 | Sulphate | 200-400 mg/l |  | Prathima |  | yes
13 | Sodium
14 | Nitrate(NO3) | 45 mg/l and above | Will nitrogen work for it? | Tanisha | Ongoing | yes
Nutrients/Organic
14 | Phosphate(PO4)
15 | DO(Dissolved Oxygen) | 6.5-8 mg/L | 36.27+0.19 Turbidity–10.36 Ln (Temperature) | himanshu | Ongoing | yes | https://exeley.com/international_journal_advanced_network_monitoring_controls/pdf/10.21307/ijanmc-2019-059
16 | COD(Chemical Oxygen Demand) | 20 mg/l O2 or less |  | himanshu | Ongoing | yes
17 | BOD(BioChemical Oxygen Demand)
Biological
18 | Total Coliform(CFU) | 0 per 100 ml
19 | Chlorophyll |  | (B5-B4)/(B5+B4)(Found the paper) | Sai | Done | yes

## Thresholds For Three Classes
Parameters | Good | Poor | Needs Treatment | Ideal Value for pure water | Standard value
pH | 6.5-8.5 | 11-14, 1-4 | 4-6.5, 8.5-11 | 7 | 7.5
Salinity | >1 | <0 | 0-1 | Fresh water - Less than 1,000 ppm. Slightly saline water - From 1,000 ppm to 3,000 ppm | Moderately saline water - From 3,000 ppm to 10,000 ppm.
Turbidity | -0.2-0 | >0.2 | 0-0.2 | 1 NTU | below 1 NTU
Land Surface Temperature | 15-35 | >40, <5 | >35, <15 | 20 celcius or 6 celcius | 20 celcius or 6 celcius
Chlorophyll | -0.1-0.1 | >0.5 | 0.1-0.5
Suspended matter | 300-600 | 900-1200 | 600-900
Dissolved Organic Matter | <500 | >2000 | 500-2000 |  | 3.2–3.4 mg/L in summer and 2.8–3.5 mg/L in winter
Dissolved Oxygen | >6.5 | <4 | 4-6.5 | 14.6 | (6.5-8 mg/L and between about 80-120 %) 5
http://cgwbchd.nic.in/qulstd.htm

## Formulae for WQI
Weighted Arithmetic Water Quality index (WAWQI)
Step 1: In the first step, unit weight (Wi) for various parameters is inversely proportional to the recommended standard (Sstandard) for the corresponding parameter. Wi values were calculated by using the following formula proposed by Tiwari and Mishra (1985),
Wi = K * (Sum of 1/Sstandard)
The constant of proportionality K in the above equation can be determined from the following equation,
K=∑〖1/(1/s1+1/s2+1/s3+⋯+1/sn)〗
Step 2: Calculate quality rating scale (Qi) of ith parameter for a total of n water quality parameters is calculated by using this equation,
Qi = (Qactual - Qideal) * 100 /(Sstandard - Qideal)
Step 3: Finally, the overall WQI was calculated by aggregating the quality rating with the unit weight linearly using the following equation:
In this study, the WQI was considered for human consumption or uses, and the maximum permissible WQI for the drinking water was taken as 100 score.
Rating scale proposed was in the range of 0–100 and grading were proposed as A for 0–25 (Excellent), B for 26–50 (Good), C for 51–75 (Poor), D for 76–100 (Very Poor) and above 100 (Unsuitable for drinking purpose) stands for E.
where Wi = unit weight for each water quality parameter; K= proportionality constant; Qi = the quality rating scale for each parameter; Qactual = estimated concentration of ith parameter in the analyzed water; Qideal = the ideal value of this parameter in pure water, Qideal = 0 (except pH = 7.0 and DO = 14.6 mg L−1); Sstandard = recommended standard value of ith parameter; n = number of water quality parameters.

## Formulas
Parameter | Source | Formula
PH | https://d-nb.info/1215299206/34 | 12.2621 + (-246.4698 * B1) + (29.4987 *B3) + (300.0727 * B6) + (-140.2648 * B8)